## Submissions
Submission ID | Submitted At | Submitted By (Name) | Submitted By (Email) | Project Name | Date of Inspection | Time | Equipment No. | Inspected Equipment Photo (link) | Inspected By | Approved By | #1 Guard provided for any rotating parts - Result | #1 Remarks | #1 Photo (link) | #2 Hot surface is provided with guard - Result | #2 Remarks | #2 Photo (link) | #3 Rubber mat is provided in operator standing area (around the DG) - Result | #3 Remarks | #3 Photo (link) | #4 No oil leakage from the oil tank & other parts of the machine - Result | #4 Remarks | #4 Photo (link) | #5 Wheel stopper in case of vehicle-mounted DG - Result | #5 Remarks | #5 Photo (link) | #6 Proper access to the DG control panel - Result | #6 Remarks | #6 Photo (link) | #7 Exhaust smoke pipe faced upwards & outside of DG shelter - Result | #7 Remarks | #7 Photo (link) | #8 Dip tray for any oil leakage - Result | #8 Remarks | #8 Photo (link) | #9 Drive belt is in good condition (any cut, dent or damage) - Result | #9 Remarks | #9 Photo (link) | #10 Adequate ventilation in case of indoor generator - Result | #10 Remarks | #10 Photo (link) | #11 Presence of fire extinguisher (ABC type) - Result | #11 Remarks | #11 Photo (link) | #12 Damage-free operating switch, voltage and temperature meter, circuit breaker, oil-level indicator, emergency switch - Result | #12 Remarks | #12 Photo (link) | #13 Earthing is provided with standard earthing pit - Result | #13 Remarks | #13 Photo (link) | #14 In case of mobile gen-set, confirmation of inbuilt acoustic system (if sound is more than 85 dB) - Result | #14 Remarks | #14 Photo (link) | PDF Report (link)